## NPDES 2021
|  |  |  | high flow | no sample | low flow | [16 empty] | Good (0-25%), Fair (26-50%), Poor (51-75%), or Very Poor (76-100%).
Site | Site Code | Watershed | Gage |  |  |  |  | Seasonal Period | [12 empty] | Geo Mean High Flow | Geo Mean Low Flow | Annual Geo Mean | Seasonal Geo Mean High | Seasonal Geo Mean low | Seasonal Geo Mean | Total # low flow seasonal samples | # times exceeded 576 limit | % exceeded 576 limit | # times exceeded 410 limit | % exceeded 410 limit | # times exceeded 298 limit | % exceeded 298 limit | # times exceeded 235 limit | % exceeded 235 limit | % exceeded limit | Rating
|  |  |  | 2021-01-14 | 2021-02-04 | 2021-03-04 | 2021-04-01 | 2021-05-06 | 2021-05-20 | 2021-06-03 | 2021-06-17 | 2021-07-01 | 2021-07-15 | 2021-08-05 | 2021-08-19 | 2021-09-02 | 2021-09-16 | 2021-10-07 | 2021-11-04 | 2021-12-01
Pulaski Hwy |  | Herring Run | 1585200 | [17 empty] | n/a | n/a | n/a | n/a | n/a | n/a | n/a | n/a | n/a | n/a | n/a | n/a | n/a | n/a | n/a | bar: 2021-01-14 to 2021-12-01
Biddle St |  | Herring Run | 1585200 | [17 empty] | n/a | n/a | n/a | n/a | n/a | n/a | n/a | n/a | n/a | n/a | n/a | n/a | n/a | n/a | n/a | bar: 2021-01-14 to 2021-12-01
HER-1 | HER0065 | Herring Run | 1585200 | [17 empty] | n/a | n/a | n/a | n/a | n/a | n/a | n/a | n/a | n/a | n/a | n/a | n/a | n/a | n/a | n/a | bar: 2021-01-14 to 2021-12-01
HR-B-12 * |  | Herring Run | 1585200 | 1732.9 | 866.4 | 307.6 | 133.3 | 127.4 | 816.4 | 261.3 | 2420 | 248.1 | 111.2 | 2420 | 325.5 | 161.6 | 248.9 | 298.7 | 410.6 | 2420 | 866.4 | 426.8037 | 444.9547 | n/a | 376.6684 | 376.6684 | 10 | 3 | 30 | 3 | 30 | 4 | 40 | 7 | 70
HR-B-13 * |  | Herring Run | 1585200 | 387.3 | 727 | 29.5 | 55.4 | 275.5 | 2420 | 2420 | 2420 | 517.2 | 387.3 | 1986.3 | 298.7 | 209.8 | 155.3 | 416 | 139.1 | 155.3 | 727 | 361.7482 | 376.9098 | n/a | 657.5868 | 657.5868 | 10 | 4 | 40 | 5 | 50 | 7 | 70 | 8 | 80
HR-B-14 * |  | Herring Run | 1585200 | 14.8 | 344.8 | 45.5 | 90.8 | 103.9 | 816.4 | 1203.3 | 1986.3 | 1299.7 | 980.4 | 148.3 | 235.9 | 547.5 | 686.7 | 770.1 | 56.1 | 1 | 344.8 | 203.9704 | 210.3676 | n/a | 566.3963 | 566.3963 | 10 | 6 | 60 | 7 | 70 | 7 | 70 | 8 | 80
HR-B-15 * |  | Herring Run | 1585200 | 111.2 | 387.3 | 25.9 | 920.8 | 145.5 | 146.7 | 193.5 | 2420 | 2420 | 648.8 | 1553.1 | 461.1 | 1046.2 | 980.4 | 410.6 | 547.5 | 579.4 | 387.3 | 459.7323 | 455.1192 | n/a | 639.9895 | 639.9895 | 10 | 6 | 60 | 7 | 70 | 7 | 70 | 7 | 70
GWY-1 | GWN0015 | Gwynns Falls | 1589300 | [17 empty] | n/a | n/a | n/a | n/a | n/a | n/a | n/a | n/a | n/a | n/a | n/a | n/a | n/a | n/a | n/a | bar: 2021-01-14 to 2021-12-01
GWY-2 | GWN0115 | Gwynns Falls | 1589300 | 76.3 | 28.5 | 186 | 1986.3 | 488.4 | 105.4 | 866.4 | 307.6 | 2420 | 172.3 | 114.5 | -- | 2420 | 109.2 | 365.4 | 201.4 | 98.5 | 1212.8222 | 166.8613 | 273.9782 | 2420 | 225.3968 | 381.9702 | 7 | 1 | 14.2857 | 2 | 28.5714 | 3 | 42.8571 | 3 | 42.8571
GWY-5 | GWN0026 | Gwynns Falls | 1589300 | [17 empty] | n/a | n/a | n/a | n/a | n/a | n/a | n/a | n/a | n/a | n/a | n/a | n/a | n/a | n/a | n/a | bar: 2021-01-14 to 2021-12-01
GWY-6 | GWN0160 | Gwynns Falls | 1589300 | 88 | 105.4 | 78.5 | 1119.9 | 290.9 | 166.4 | 260.3 | 275.5 | 920.8 | 193.5 | 127.4 | -- | 2420 | 325.5 | 128.1 | 228.2 | 55.6 | 596.9731 | 188.7765 | 234.2606 | 2420 | 266.7672 | 340.833 | 8 | 1 | 12.5 | 1 | 12.5 | 2 | 25 | 5 | 62.5
GF-B-8 |  | Gwynns Falls | 1589300 | 579.4 | 1732.9 | 1986.3 | 2420 | 2420 | 579.4 | 1732.9 | 1046.2 | 2420 | 1203.3 | 172.3 | -- | 2420 | 159.7 | 248.1 | 866.4 | 1203.3 | 2265.8189 | 797.6319 | 970.1062 | 2420 | 819.6344 | 924.4089 | 8 | 6 | 75 | 6 | 75 | 6 | 75 | 6 | 75
DR-B-10 |  | Gwynns Falls | 1589300 | 66.3 | 2420 | 206.4 | 2420 | 1299.7 | 1203.3 | 1732.9 | 325.5 | 2420 | 275.5 | 275.5 | -- | 2420 | 235.9 | 179.3 | 325.5 | 74.4 | 1065.2384 | 444.7385 | 523.8794 | 2420 | 664.9531 | 767.586 | 8 | 4 | 50 | 4 | 50 | 5 | 62.5 | 8 | 100
SL-B-3 |  | Gwynns Falls | 1589300 | 365.4 | 344.8 | 209.8 | 2420 | 1299.7 | 344.8 | 1299.7 | 980.4 | 2420 | 435.2 | 275.5 | -- | 727 | 107.1 | 1413.6 | 1553.1 | 206.4 | 717.3291 | 588.3895 | 610.6606 | 727 | 604.135 | 616.6907 | 8 | 4 | 50 | 5 | 62.5 | 6 | 75 | 7 | 87.5
JON-1 | JON0039 | Jones Falls | 1589440 | [17 empty] | n/a | n/a | n/a | n/a | n/a | n/a | n/a | n/a | n/a | n/a | n/a | n/a | n/a | n/a | n/a | bar: 2021-01-14 to 2021-12-01
JON-2 | JON0082 | Jones Falls | 1589440 | 7.5 | 18.7 | 22.8 | 461.1 | 1119.9 | 9.36 | 866.4 | 42.6 | 461.1 | 14.4 | 20.1 | -- | 2420 | 31.7 | 387.3 | 224.7 | 17.9 | 169.2421 | 73.6523 | 86.0863 | 461.1 | 98.1188 | 116.5262 | 8 | 3 | 37.5 | 3 | 37.5 | 3 | 37.5 | 3 | 37.5
JON-3 | JON0184 | Jones Falls | 1589440 | 35.9 | 13.4 | 38.4 | 816.4 | 275.5 | 178.5 | 648.8 | 387.3 | 2420 | 290.9 | 387.3 | -- | 2420 | 686.7 | 387.3 | 365.4 | 24.7 | 423.334 | 225.464 | 253.7338 | 2420 | 468.3133 | 562.0691 | 8 | 3 | 37.5 | 3 | 37.5 | 5 | 62.5 | 7 | 87.5
JON-4 | UQQ0005 | Jones Falls | 1589440 | 58.1 | 25.6 | 17.1 | 980.4 | 2420 | 290.9 | 2419.6 | 488.4 | 1986.3 | 365.4 | 648.8 | -- | 2420 | 613.1 | 816.4 | 195.6 | 55.6 | 321.7225 | 383.3721 | 370.9748 | 1986.3 | 857.6065 | 941.4919 | 8 | 5 | 62.5 | 6 | 75 | 7 | 87.5 | 8 | 100
JON-5 | SRU0005 | Jones Falls | 1589440 | [17 empty] | n/a | n/a | n/a | n/a | n/a | n/a | n/a | n/a | n/a | n/a | n/a | n/a | n/a | n/a | n/a | bar: 2021-01-14 to 2021-12-01
JF-B-12 |  | Jones Falls | 1589440 | 105.4 | 115.3 | 81.6 | 1299.7 | 290.9 | 21.8 | 387.3 | 131.4 | 2420 | 613.1 | 109.2 | -- | 2420 | 137.6 | 770.1 | 88 | 34.1 | 635.501 | 179.5842 | 227.6025 | 2420 | 227.5773 | 295.941 | 8 | 2 | 25 | 2 | 25 | 3 | 37.5 | 4 | 50
JF-B-13 |  | Jones Falls | 1589440 | 119.8 | 71.7 | 48.7 | 866.4 | 770.1 | 222.4 | 328.2 | 866.4 | 2420 | 1299.7 | 613.1 | -- | 2420 | 209.8 | 184.2 | 365.4 | 32.7 | 467.3988 | 320.2362 | 343.7646 | 2420 | 612.0921 | 713.0992 | 8 | 5 | 62.5 | 5 | 62.5 | 6 | 75 | 6 | 75
LIB-1 |  | Liberty | 1586610 | [17 empty] | n/a | n/a | n/a | n/a | n/a | n/a | n/a | n/a | n/a | n/a | n/a | n/a | n/a | n/a | n/a | bar: 2021-01-14 to 2021-12-01
LIB-2 |  | Liberty | 1586610 | [17 empty] | n/a | n/a | n/a | n/a | n/a | n/a | n/a | n/a | n/a | n/a | n/a | n/a | n/a | n/a | n/a | bar: 2021-01-14 to 2021-12-01
LIB-3 |  | Liberty | 1586210 | [17 empty] | n/a | n/a | n/a | n/a | n/a | n/a | n/a | n/a | n/a | n/a | n/a | n/a | n/a | n/a | n/a | bar: 2021-01-14 to 2021-12-01
LIB-4 |  | Liberty | 1586210 | [17 empty] | n/a | n/a | n/a | n/a | n/a | n/a | n/a | n/a | n/a | n/a | n/a | n/a | n/a | n/a | n/a | bar: 2021-01-14 to 2021-12-01
LIB-5 |  | Liberty | 1586610 | [17 empty] | n/a | n/a | n/a | n/a | n/a | n/a | n/a | n/a | n/a | n/a | n/a | n/a | n/a | n/a | n/a | bar: 2021-01-14 to 2021-12-01
LOC-1 | SBH0002 | Loch Raven | 1583600 | 275.5 | 344.8 | 135.4 | 2419.6 | 488.4 | 1203.3 | 2420 | 488.4 | 1046.2 | 1046.2 | 387.3 | -- | 2420 | 816.4 | 613.1 | 387.3 | 156.5 | 563.1591 | 694.2179 | 633.494 | 832.6367 | 1001.2938 | 941.585 | 6 | 5 | 83.3333 | 5 | 83.3333 | 6 | 100 | 6 | 100
LOC-2 | BEV0005 | Loch Raven | 1583600 | 51.2 | 151.5 | 79.4 | 920.8 | 387.3 | 111.2 | 325.5 | 344.8 | 1553.1 | 517.2 | 120.1 | -- | 2420 | 307.6 | 866.4 | 261.3 | 63.1 | 292.5209 | 291.8121 | 292.122 | 686.2411 | 320.0176 | 412.675 | 6 | 1 | 16.6667 | 2 | 33.3333 | 4 | 66.6667 | 4 | 66.6667
LOC-3 | WGP0050 | Loch Raven | 1583500 | 47.1 | 29.8 | 10.9 | 488.4 | 770.1 | 101.7 | 272.3 | 193.5 | 2420 | 160.7 | 111.2 | -- | 2420 | 222.4 | 193.5 | 488.4 | 57.3 | 408.4857 | 123.6651 | 193.5735 | 966.5286 | 161.5566 | 357.7744 | 5 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 20
LOC-4 | GUN0233 | Loch Raven | 1582500 | 48.7 | 37.9 | 20.1 | 2420 | 2420 | 124.6 | 387.3 | 154.1 | 344.8 | 275.5 | 344.8 | -- | 2420 | 275.5 | 186 | 344.8 | 195.6 | 730.5678 | 184.479 | 260.2408 | 2420 | 253.4083 | 418.4055 | 7 | 0 | 0 | 0 | 0 | 3 | 42.8571 | 5 | 71.4286
LOC-5 | GUN0284 | Loch Raven | 1582500 | 26.2 | 27.2 | 13.4 | 1046.2 | 1119.9 | 54.8 | 146.7 | 75.9 | 344.8 | 248.9 | 121 | -- | 2420 | 488.4 | 187.2 | 161.6 | 68.3 | 441.4978 | 113.4715 | 159.3666 | 1646.2558 | 163.284 | 272.8699 | 7 | 0 | 0 | 1 | 14.2857 | 2 | 28.5714 | 3 | 42.8571
LOC-6 | LIT0002 | Loch Raven | 1582000 | 35.5 | 40.4 | 42.8 | 816.4 | 1732.9 | 112.6 | 290.9 | 204.6 | 547.5 | 209.8 | 172.2 | -- | 2419.6 | 461.1 | 248.1 | 148.3 | 90.9 | 618.6798 | 160.5446 | 224.9382 | 2047.6633 | 250.0514 | 398.9966 | 7 | 0 | 0 | 2 | 28.5714 | 2 | 28.5714 | 3 | 42.8571
LOC-7 | GUN0387 | Loch Raven | 1582000 | [17 empty] | n/a | n/a | n/a | n/a | n/a | n/a | n/a | n/a | n/a | n/a | n/a | n/a | n/a | n/a | n/a | bar: 2021-01-14 to 2021-12-01
PAT-1 | PAT-0148 | Patapsco | 1589000 | 30.9 | 159.7 | 37.9 | 1732.9 | 866.4 | 81.6 | 235.9 | 547.5 | 131.4 | 387.3 | 435.2 | -- | 2420 | 2420 | 365.4 | 387.3 | 61.7 | 364.0951 | 260.4936 | 295.3444 | 1047.0626 | 317.8783 | 472.9677 | 6 | 1 | 16.6667 | 2 | 33.3333 | 3 | 50 | 4 | 66.6667
PAT-2 | PAT-0176 | Patapsco | 1589000 | 14.8 | 21.3 | 7.4 | 686.7 | 290.9 | 39.3 | 119.8 | 125.9 | 90.5 | 143.9 | 95.9 | -- | 2420 | 93.2 | 416 | 137.4 | 53.8 | 137.1853 | 90.2617 | 105.6039 | 445.8563 | 90.4619 | 153.9485 | 6 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
PAT-3 | PAT-0222 | Patapsco | 1589000 | 47.3 | 33.1 | 5.2 | 2419.6 | 137.6 | 46.5 | 187.2 | 228.2 | 133.4 | 127.4 | 224.7 | -- | 2420 | 180.2 | 272.3 | 198.9 | 74.9 | 188.7526 | 123.1809 | 144.5604 | 423.5615 | 134.7639 | 197.4034 | 6 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
PAT-4 | PAT-0285 | Patapsco | 1589000 | 20.9 | 42 | 3 | 410.6 | 95.9 | 53.8 | 53.7 | 47.1 | 60.5 | 142.1 | 88.4 | -- | 2420 | 90.9 | 69.1 | 86 | 20.3 | 80.9513 | 63.1661 | 69.3245 | 221.9312 | 76.4458 | 109.0541 | 6 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
PAT-5 | PAT-0347 | Patapsco | 1589000 | [17 empty] | n/a | n/a | n/a | n/a | n/a | n/a | n/a | n/a | n/a | n/a | n/a | n/a | n/a | n/a | n/a | bar: 2021-01-14 to 2021-12-01
PRE-1 | GOB0042 | Prettyboy | 1582000 | 48.7 | 6.3 | 9.36 | 547.5 | 648.8 | 104.6 | 193.5 | 240 | 2420 | 727 | 328.2 | -- | 2420 | 344.8 | 165.8 | 172.3 | 93.4 | 299.4998 | 174.4003 | 199.6455 | 1253.0347 | 370.9832 | 486.2088 | 7 | 2 | 28.5714 | 2 | 28.5714 | 4 | 57.1429 | 5 | 71.4286
PRE-2 | GRG0013 | Prettyboy | 1582000 | 19.9 | 35.5 | 35.9 | 435.2 | 148.3 | 33.2 | 66.3 | 172.3 | 2420 | 228.2 | 110.6 | -- | 1299.7 | 184.2 | 104.6 | 85.7 | 43.2 | 234.2566 | 101.2976 | 124.9172 | 439.0279 | 170.9516 | 210.8141 | 7 | 1 | 14.2857 | 1 | 14.2857 | 1 | 14.2857 | 1 | 14.2857
PRE-3 | GUN0476 | Prettyboy | 1582000 | 344.8 | 28.2 | 17.3 | 387.3 | 1119.9 | 50.4 | 101.4 | 161.6 | 2419.6 | 107.6 | 147 | -- | 2420 | 152.9 | 125.9 | 122.3 | 61.3 | 367.0896 | 137.165 | 175.4387 | 1646.2558 | 174.0198 | 286.7246 | 7 | 1 | 14.2857 | 1 | 14.2857 | 1 | 14.2857 | 1 | 14.2857
* - Sampled on the second Tuesday of the month